## Slide 1: Lipidomics data processing v4 (lipidExploreR)
2024-09-04
LGW

## Slide 2: Overview
V4 consists of an R notebook with 2x fixed chunks
The operator/user is required to run through each chunk in sequence
Running through the chunks is interactive – directing the user towards data location, and producing fixed data outputs for consistency
V4 notebook is found here:
https://github.com/lukewhiley/targeted_lipid_exploreR/blob/main/v4/notebooks/lipid_exploreR_notebook_v4.Rmd

## Slide 3: Chunk 1 - skylineR
Peak integration is performed by skyline
There are ~1200 peaks to evaluate per sample
It is not feasible for manual review of projects
Chunk 1 attempts to standardize integrations for consistency

## Slide 4: Chunk 1 – skylineR operations
SkylineR operations:
Set up list structure in r
Set project metrics –
  Project location; username; lipid method (v1/v2); qc type (ltr/pqc)
Set up folder structure for consistent data input and export
Read in mzml files
Use mzml actual MRM data (LTR samples only) to find:
  Peak apex (e.g.to find peak RT)
  Peak boundaries (to set consistent integration windows
This creates optimised skyline integrations for consistent integrations
  Note: there are weaknesses to this approach – e.g. isomeric selection, BUT, we do not run individual standards so this is overall assay weakness. This approach seeks for consistent integrations.

## Slide 5: Chunk 1 - skylineR
Final output is an .rda file containing a “master_list”:
  mzml file data
  Skyline optimized files
  Skyline integrals
Note: it is currently recommended that skyline is performed per plate for maximum integration consistency in cases where RT may subtly move between plate runs.

## Slide 6: Process Flow skylineR

## Slide 7: Chunk 2 - qcCheckR
Following completion of skylineR, qc checks are required.
Chunk 2 relies on completion of the skylineR per plate and requires the “master_list” format to operate.
It should be commenced from scratch following completion of skylineR for each plate

## Slide 8: Chunk 2 – qcCheckR operations Set-up
Load .rda files containing “master_list” format from each skylineR iteration on each plate of samples
Load templates and guides (e.g. internal standard guides)

## Slide 9: Chunk 2 – qcCheckR operations Phase 1: data preparation
Transpose skyline data export to “metabolomics format” (samples in rows, features in columns) and add acquisition metadata
Sort in actual acquisition order (uses mzml data timestamp)
Impute missing values
Signal drift and plate/batch corrections on peakArea data using stat target algorithm
Calculate peakAreaResponse
Calculate concentration
Note – operations 5+6 are performed for all peakAreaData [raw, imputed and statTarget]

## Slide 10: Chunk 2 – qcCheckR operations Phase 2: filtering/flagging
Note: in data flagging – a missing value also includes samples <LOD with a peakArea <5000. This is considered noise.
Flag the samples that have >50% missing values. This indicates an error with extraction, injection, or sample
Flag the lipids with > 50% missing values
Flag the lipids with %RSD in LTR >30%

## Slide 11: Chunk 2 – qcCheckR operations Phase 3: create summary report
Creation of a summary report of data

## Slide 12: Chunk 2 – qcCheckR operations Phase 4: exports
Multitab Xlsx file
  userGuide
  QC.plate performance
  QC.sampleMissingValues
  QC.lipidMissingValues
  QC.lipidRSD
  Data.PeakArea (peakArea data for all samples and lipids. No imputation. No filters)
  Data.silPeakArea
  Data.allConcentration (conc. Values for all samples and lipids. No imputation. No filters)
  Data.concentration.preProcessed (conc. Values. Yes imputation. Yes filters)
  Data.statTarget.preProcessed (statTarget. conc. Values. Yes imputation. Yes filters)

## Slide 13: Process Flow qc.checkeR